## Sheet1
[14 empty] | DOOR | [9 empty] | FRAME | [14 empty] | HARDWARE
DOOR TAG | BUILDING TAG | BUILDING LOCATION | DOOR LOCATION | QUANTITY | HAND OF OPENINGS | DOOR OPERATION | LEAF COUNT | INTERIOR/EXTERIOR | EXCLUDE REASON | WIDTH | HEIGHT | THICKNESS | FIRE RATING | DOOR MATERIAL | DOOR ELEVATION TYPE | DOOR CORE | DOOR FACE | DOOR EDGE | DOOR GUAGE | DOOR FINISH | STC RATING | DOOR UNDERCUT | DOOR INCLUDE/EXCLUDE | FRAME MATERIAL | WALL TYPE | THROAT THICKNESS | FRAME ANCHOR | BASE ANCHOR | NO OF ANCHOR | FRAME PROFILE | FRAME ELEVATION TYPE | FRAME ASSEMBLY | FRAME GUAGE | FRAME FINISH | PREHUNG | FRAME HEAD | CASING | FRAME INCLUDE/EXCLUDE | HARDWARE SET | HARDWARE INCLUDE/EXCLUDE
P200 |  | PARKING P2 | P2 ELEVATOR LOBBY | 1 |  | SWING | SINGLE | EXTERIOR |  | 3' - 0" | 7' - 0" | 1 3/4" | 45 MIN | HCM | 3 | STEEL STIFFENED CORE |  |  | 16GA | PRIMER |  |  | INCLUDE | PS | *FP/CMU | 4 3/4" | MASONARY ANCHOR |  |  |  | 1 | THERMALLY BROKEN - FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | P200 | INCLUDE
P201 |  | PARKING P2 | SERVICE ROOM | 1 |  | SWING | SINGLE | EXTERIOR |  | 3' - 0" | 7' - 0" | 1 3/4" | 60 MIN | HCM | 1 | STEEL STIFFENED CORE |  |  | 16GA | PRIMER |  |  | INCLUDE | PS | *FP/CMU | 4 3/4" | MASONARY ANCHOR |  |  |  | 1 | THERMALLY BROKEN - FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | P201 | INCLUDE
P202 |  | PARKING P2 | STAIR D | 1 |  | SWING | SINGLE | EXTERIOR |  | 3' - 0" | 7' - 0" | 1 3/4" | 90 MIN | HCM | 2 | STEEL STIFFENED CORE |  |  | 16GA | PRIMER |  |  | INCLUDE | PS | *FP/CMU | 4 3/4" | MASONARY ANCHOR |  |  |  | 1 | THERMALLY BROKEN - FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | P202 | INCLUDE
P203 |  | PARKING P2 | SERVICE ROOM | 1 |  | SWING | SINGLE | EXTERIOR |  | 3' - 0" | 7' - 0" | 1 3/4" | 60 MIN | HCM | 1 | STEEL STIFFENED CORE |  |  | 16GA | PRIMER |  |  | INCLUDE | PS | *FP/CMU | 4 3/4" | MASONARY ANCHOR |  |  |  | 1 | THERMALLY BROKEN - FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | P203 | INCLUDE
P204 |  | PARKING P2 | PET WASH STATION | 1 |  | SWING | SINGLE | EXTERIOR |  | 3' - 0" | 7' - 0" | 1 3/4" | 60 MIN | HCM | 2 | STEEL STIFFENED CORE |  |  | 16GA | PRIMER |  |  | INCLUDE | PS | *FP/CMU | 4 3/4" | MASONARY ANCHOR |  |  |  | 1 | THERMALLY BROKEN - FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | P204 | INCLUDE
P205 |  | PARKING P2 | SERVICE ROOM | 1 |  | SWING | SINGLE | EXTERIOR |  | 3' - 0" | 7' - 0" | 1 3/4" | 60 MIN | HCM | 1 | STEEL STIFFENED CORE |  |  | 16GA | PRIMER |  |  | INCLUDE | PS | *FP/CMU | 4 3/4" | MASONARY ANCHOR |  |  |  | 1 | THERMALLY BROKEN - FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | P205 | INCLUDE
P206 |  | PARKING P2 | STAIR C | 1 |  | SWING | SINGLE | EXTERIOR |  | 3' - 0" | 7' - 0" | 1 3/4" | 90 MIN | HCM | 2 | STEEL STIFFENED CORE |  |  | 16GA | PRIMER |  |  | INCLUDE | PS | *FP/CMU | 4 3/4" | MASONARY ANCHOR |  |  |  | 1 | THERMALLY BROKEN - FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | P206 | INCLUDE
P207 |  | PARKING P2 | SERVICE ROOM | 1 |  | SWING | SINGLE | EXTERIOR |  | 3' - 0" | 7' - 0" | 1 3/4" | 60 MIN | HCM | 1 | STEEL STIFFENED CORE |  |  | 16GA | PRIMER |  |  | INCLUDE | PS | *FP/CMU | 4 3/4" | MASONARY ANCHOR |  |  |  | 1 | THERMALLY BROKEN - FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | P207 | INCLUDE
P100 |  | PARKING P1 | P1 ELEVATOR LOBBY | 1 |  | SWING | SINGLE | EXTERIOR |  | 3' - 0" | 7' - 0" | 1 3/4" | 45 MIN | HCM | 3 | STEEL STIFFENED CORE |  |  | 16GA | PRIMER |  |  | INCLUDE | PS | *FP/CMU | 4 3/4" | MASONARY ANCHOR |  |  |  | 1 | THERMALLY BROKEN - FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | P100 | INCLUDE
P101 |  | PARKING P1 | MAIN COMMUNICATION ROOM | 1 |  | SWING | SINGLE | EXTERIOR |  | 3' - 0" | 7' - 0" | 1 3/4" | 60 MIN | HCM | 1 | STEEL STIFFENED CORE |  |  | 16GA | PRIMER |  |  | INCLUDE | PS | *FP/CMU | 4 3/4" | MASONARY ANCHOR |  |  |  | 1 | THERMALLY BROKEN - FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | P101 | INCLUDE
P102 |  | PARKING P1 | BIKE STORAGE #4 | 1 |  | SWING | SINGLE | EXTERIOR |  | 3' - 0" | 7' - 0" | 1 3/4" | 60 MIN | HCM | 1 | STEEL STIFFENED CORE |  |  | 16GA | PRIMER |  |  | INCLUDE | PS | *FP/CMU | 4 3/4" | MASONARY ANCHOR |  |  |  | 1 | THERMALLY BROKEN - FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | P102 | INCLUDE
P103 |  | PARKING P1 | STAIR C | 1 |  | SWING | SINGLE | EXTERIOR |  | 3' - 0" | 7' - 0" | 1 3/4" | 90 MIN | HCM | 2 | STEEL STIFFENED CORE |  |  | 16GA | PRIMER |  |  | INCLUDE | PS | *FP/CMU | 4 3/4" | MASONARY ANCHOR |  |  |  | 1 | THERMALLY BROKEN - FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | P103 | INCLUDE
P104 |  | PARKING P1 | UNIT SUBSTATION ROOM | 1 |  | SWING | DOUBLE | EXTERIOR |  | (2)3' - 0" | 7' - 0" | 1 3/4" | 90 MIN | HCM | 1 | STEEL STIFFENED CORE |  |  | 16GA | PRIMER |  |  | INCLUDE | PS | *FP/CMU | 4 3/4" | MASONARY ANCHOR |  |  |  | 2 | THERMALLY BROKEN - FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | P104 | INCLUDE
P105 |  | PARKING P1 | BIKE STORAGE #5 | 1 |  | SWING | SINGLE | EXTERIOR |  | 3' - 0" | 7' - 0" | 1 3/4" | 60 MIN | HCM | 1 | STEEL STIFFENED CORE |  |  | 16GA | PRIMER |  |  | INCLUDE | PS | *FP/CMU | 4 3/4" | MASONARY ANCHOR |  |  |  | 1 | THERMALLY BROKEN - FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | P106, P109, P111, P102, P105 | INCLUDE
P106 |  | PARKING P1 | BIKE STORAGE #1 | 1 |  | SWING | SINGLE | EXTERIOR |  | 3' - 0" | 7' - 0" | 1 3/4" | 60 MIN | HCM | 1 | STEEL STIFFENED CORE |  |  | 16GA | PRIMER |  |  | INCLUDE | PS | *FP/CMU | 4 3/4" | MASONARY ANCHOR |  |  |  | 1 | THERMALLY BROKEN - FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | P106, P109, P111, P102, P105 | INCLUDE
P107 |  | PARKING P1 | BIKE MAINTENANCE | 1 |  | SWING | SINGLE | EXTERIOR |  | 3' - 0" | 7' - 0" | 1 3/4" | 60 MIN | HCM | 1 | STEEL STIFFENED CORE |  |  | 16GA | PRIMER |  |  | INCLUDE | PS | *FP/CMU | 4 3/4" | MASONARY ANCHOR |  |  |  | 1 | THERMALLY BROKEN - FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | P107 | INCLUDE
P108 |  | PARKING P1 | STAIR D | 1 |  | SWING | SINGLE | EXTERIOR |  | 3' - 0" | 7' - 0" | 1 3/4" | 90 MIN | HCM | 2 | STEEL STIFFENED CORE |  |  | 16GA | PRIMER |  |  | INCLUDE | PS | *FP/CMU | 4 3/4" | MASONARY ANCHOR |  |  |  | 1 | THERMALLY BROKEN - FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | P108 | INCLUDE
P109 |  | PARKING P1 | BIKE STORAGE #2 | 1 |  | SWING | SINGLE | EXTERIOR |  | 3' - 0" | 7' - 0" | 1 3/4" | 60 MIN | HCM | 1 | STEEL STIFFENED CORE |  |  | 16GA | PRIMER |  |  | INCLUDE | PS | *FP/CMU | 4 3/4" | MASONARY ANCHOR |  |  |  | 1 | THERMALLY BROKEN - FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | P106, P109, P111, P102, P105 | INCLUDE
P110 |  | PARKING P1 | WATER ENTRY ROOM | 1 |  | SWING | SINGLE | EXTERIOR |  | 3' - 0" | 7' - 0" | 1 3/4" | 60 MIN | HCM | 1 | STEEL STIFFENED CORE |  |  | 16GA | PRIMER |  |  | INCLUDE | PS | *FP/CMU | 4 3/4" | MASONARY ANCHOR |  |  |  | 1 | THERMALLY BROKEN - FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | P110 | INCLUDE
P111 |  | PARKING P1 | BIKE STORAGE #3 | 1 |  | SWING | SINGLE | EXTERIOR |  | 3' - 0" | 7' - 0" | 1 3/4" | 60 MIN | HCM | 1 | STEEL STIFFENED CORE |  |  | 16GA | PRIMER |  |  | INCLUDE | PS | *FP/CMU | 4 3/4" | MASONARY ANCHOR |  |  |  | 1 | THERMALLY BROKEN - FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | P106, P109, P111, P102, P105 | INCLUDE
P112 |  | PARKING P1 | COMMERCIAL BIKE STORAGE #5 | 1 |  | SWING | SINGLE | EXTERIOR |  | 3' - 0" | 7' - 0" | 1 3/4" | 60 MIN | HCM | 1 | STEEL STIFFENED CORE |  |  | 16GA | PRIMER |  |  | INCLUDE | PS | *FP/CMU | 4 3/4" | MASONARY ANCHOR |  |  |  | 1 | THERMALLY BROKEN - FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | P112 | INCLUDE
P113 |  | PARKING P1 | PARKADE | 1 |  | SWING | SINGLE | EXTERIOR |  | 3' - 0" | 7' - 0" | 1 3/4" |  | HCM | 3 | STEEL STIFFENED CORE |  |  | 16GA | PRIMER |  |  | INCLUDE | PS | *FP/CMU | 4 3/4" | MASONARY ANCHOR |  |  |  | 1 | THERMALLY BROKEN - FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | 113 | INCLUDE
102A |  | LEVEL 1 | VEST | 1 |  | SWING | SINGLE | INTERIOR |  | 3' - 0" | 7' - 0" | 1 3/4" | 90 MIN | HCM | 1 | HONEYCOMB CORE |  |  | 18GA | PRIMER |  |  | INCLUDE | PS | W18 | 8 1/2" | WOOD STUD ANCHOR |  |  |  | 1 | FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | 102A | INCLUDE
102B |  | LEVEL 1 | CORRIDOR | 1 |  | SWING | SINGLE | INTERIOR |  | 3' - 0" | 7' - 0" | 1 3/4" |  | HCM | 1 | HONEYCOMB CORE |  |  | 18GA | PRIMER |  |  | INCLUDE | PS | W18 | 8 1/2" | WOOD STUD ANCHOR |  |  |  | 1 | FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | 102B | INCLUDE
103A |  | LEVEL 1 | STAIR A | 1 |  | SWING | SINGLE | INTERIOR |  | 3' - 0" | 7' - 0" | 1 3/4" |  | HCM | 1 | HONEYCOMB CORE |  |  | 18GA | PRIMER |  |  | INCLUDE | PS | *FP/WS | 4 3/4" | WOOD STUD ANCHOR |  |  |  | 1 | FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | 103A | INCLUDE
104B |  | LEVEL 1 | CRU-6 | 1 |  | SWING | SINGLE | INTERIOR |  | 3' - 0" | 7' - 0" | 1 3/4" | 90 MIN | HCM | 1 | HONEYCOMB CORE |  |  | 18GA | PRIMER |  |  | INCLUDE | PS | W18 | 8 1/2" | WOOD STUD ANCHOR |  |  |  | 1 | FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | 104B | INCLUDE
105A |  | LEVEL 1 | STAIR C | 1 |  | SWING | SINGLE | EXTERIOR |  | 3' - 0" | 7' - 0" | 1 3/4" | 90 MIN | HCM | 1 | STEEL STIFFENED CORE |  |  | 16GA | PRIMER |  |  | INCLUDE | PS | *FP/CMU | 4 3/4" | MASONARY ANCHOR |  |  |  | 1 | THERMALLY BROKEN - FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | 105A | INCLUDE
106A |  | LEVEL 1 | COMM. REFUSE & RECYCLE | 1 |  | SWING | DOUBLE | EXTERIOR |  | (2)3' - 0" | 7' - 0" | 1 3/4" | 60 MIN | HCM | 1 | STEEL STIFFENED CORE |  |  | 16GA | PRIMER |  |  | INCLUDE | PS | *FP/CMU | 4 3/4" | MASONARY ANCHOR |  |  |  | 2 | THERMALLY BROKEN - FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | 106A | INCLUDE
107A |  | LEVEL 1 | RES. REFUSE & RECYCLE | 1 |  | SWING | DOUBLE | EXTERIOR |  | (2)3' - 0" | 7' - 0" | 1 3/4" | 60 MIN | HCM | 1 | STEEL STIFFENED CORE |  |  | 16GA | PRIMER |  |  | INCLUDE | PS | *FP/CMU | 4 3/4" | MASONARY ANCHOR |  |  |  | 2 | THERMALLY BROKEN - FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | P107A | INCLUDE
107B |  | LEVEL 1 | RES. REFUSE & RECYCLE | 1 |  | SWING | SINGLE | INTERIOR |  | 3' - 0" | 7' - 0" | 1 3/4" | 45 MIN | HCM | 1 | HONEYCOMB CORE |  |  | 18GA | PRIMER |  |  | INCLUDE | PS | *FP/CMU | 4 3/4" | MASONARY ANCHOR |  |  |  | 1 | FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | 107B | INCLUDE
108A |  | LEVEL 1 | STAIR D | 1 |  | SWING | SINGLE | EXTERIOR |  | 3' - 0" | 7' - 0" | 1 3/4" | 90 MIN | HCM | 1 | STEEL STIFFENED CORE |  |  | 16GA | PRIMER |  |  | INCLUDE | PS | *FP/CMU | 4 3/4" | MASONARY ANCHOR |  |  |  | 1 | THERMALLY BROKEN - FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | 108A | INCLUDE
109A |  | LEVEL 1 | STAIR B | 1 |  | SWING | SINGLE | EXTERIOR |  | 3' - 0" | 7' - 0" | 1 3/4" | 90 MIN | HCM | 1 | STEEL STIFFENED CORE |  |  | 16GA | PRIMER |  |  | INCLUDE | PS | *FP/CMU | 4 3/4" | MASONARY ANCHOR |  |  |  | 1 | THERMALLY BROKEN - FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | 109A | INCLUDE
110B |  | LEVEL 1 | CRU-5 | 1 |  | SWING | SINGLE | INTERIOR |  | 3' - 0" | 7' - 0" | 1 3/4" | 90 MIN | HCM | 1 | HONEYCOMB CORE |  |  | 18GA | PRIMER |  |  | INCLUDE | PS | W18 | 8 1/2" | WOOD STUD ANCHOR |  |  |  | 1 | FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | 110B | INCLUDE
111B |  | LEVEL 1 | CRU-4 | 1 |  | SWING | SINGLE | INTERIOR |  | 3' - 0" | 7' - 0" | 1 3/4" | 90 MIN | HCM | 1 | HONEYCOMB CORE |  |  | 18GA | PRIMER |  |  | INCLUDE | PS | W18 | 8 1/2" | WOOD STUD ANCHOR |  |  |  | 1 | FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | 111B | INCLUDE
112B |  | LEVEL 1 | CRU-3 | 1 |  | SWING | SINGLE | INTERIOR |  | 3' - 0" | 7' - 0" | 1 3/4" | 90 MIN | HCM | 1 | HONEYCOMB CORE |  |  | 18GA | PRIMER |  |  | INCLUDE | PS | W18 | 8 1/2" | WOOD STUD ANCHOR |  |  |  | 1 | FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | 112B | INCLUDE
113B |  | LEVEL 1 | CRU-2 | 1 |  | SWING | SINGLE | INTERIOR |  | 3' - 0" | 7' - 0" | 1 3/4" | 90 MIN | HCM | 1 | HONEYCOMB CORE |  |  | 18GA | PRIMER |  |  | INCLUDE | PS | W18 | 8 1/2" | WOOD STUD ANCHOR |  |  |  | 1 | FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | 113B | INCLUDE
114B |  | LEVEL 1 | CRU-1 | 1 |  | SWING | SINGLE | INTERIOR |  | 3' - 0" | 7' - 0" | 1 3/4" | 90 MIN | HCM | 1 | HONEYCOMB CORE |  |  | 18GA | PRIMER |  |  | INCLUDE | PS | W18 | 8 1/2" | WOOD STUD ANCHOR |  |  |  | 1 | FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | 114B | INCLUDE
115A |  | LEVEL 1 | CORRIDOR | 1 |  | SWING | SINGLE | EXTERIOR |  | 3' - 0" | 7' - 0" | 1 3/4" | 90 MIN | HCM | 1 | STEEL STIFFENED CORE |  |  | 16GA | PRIMER |  |  | INCLUDE | PS | *FP/CMU | 4 3/4" | MASONARY ANCHOR |  |  |  | 1 | THERMALLY BROKEN - FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | 115A | INCLUDE
115B |  | LEVEL 1 | ELECTRICAL CLOSET | 1 |  | SWING | DOUBLE | INTERIOR |  | (2)3' - 0" | 7' - 0" | 1 3/4" | 90 MIN | HCM | 1 | HONEYCOMB CORE |  |  | 18GA | PRIMER |  |  | INCLUDE | PS | W07 | 5 7/8" | WOOD STUD ANCHOR |  |  |  | 2 | FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | 115B | INCLUDE
115C |  | LEVEL 1 | CORRIDOR | 1 |  | SWING | DOUBLE | INTERIOR |  | (2)3' - 0" | 7' - 0" | 1 3/4" | 60 MIN | HCM | 1 | HONEYCOMB CORE |  |  | 18GA | PRIMER |  |  | INCLUDE | PS | *FP/CMU | 4 3/4" | MASONARY ANCHOR |  |  |  | 2 | FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | 115C | INCLUDE
200A |  | LEVEL 2 | STAIR A | 1 |  | SWING | SINGLE | INTERIOR |  | 3' - 0" | 7' - 0" | 1 3/4" | 45 MIN | HCM | 2 | HONEYCOMB CORE |  |  | 18GA | PRIMER |  |  | INCLUDE | PS | W23 | 6 3/4" | WOOD STUD ANCHOR |  |  |  | 1 | FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | 200A | INCLUDE
200B |  | LEVEL 2 | STAIR B | 1 |  | SWING | SINGLE | INTERIOR |  | 3' - 0" | 7' - 0" | 1 3/4" | 45 MIN | HCM | 2 | HONEYCOMB CORE |  |  | 18GA | PRIMER |  |  | INCLUDE | PS | W23 | 6 3/4" | WOOD STUD ANCHOR |  |  |  | 1 | FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | 200B | INCLUDE
200C |  | LEVEL 2 | ELECTRICAL CLOSET | 1 |  | SWING | DOUBLE | INTERIOR |  | (2)3' - 0" | 7' - 0" | 1 3/4" | 45 MIN | HCM | 1 | HONEYCOMB CORE |  |  | 18GA | PRIMER |  |  | INCLUDE | PS | W23 | 6 3/4" | WOOD STUD ANCHOR |  |  |  | 2 | FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | 200C | INCLUDE
201A |  | LEVEL 2 | INDOOR AMENITY | 1 |  | SWING | SINGLE | INTERIOR |  | 3' - 0" | 7' - 0" | 1 3/4" | 45 MIN | SCW | 1 | MINERAL CORE |  |  |  | PRIMER |  |  | INCLUDE | PS | W23 | 6 3/4" | WOOD STUD ANCHOR |  |  |  | 1 | FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | P200D | INCLUDE
201B |  | LEVEL 2 | ACCESSIBLE WASHROOM | 1 |  | SWING | SINGLE | INTERIOR |  | 3' - 0" | 6' - 8" | 1 3/4" |  | HCW | 1 | HONEYCOMB KRAFT PAPER |  |  |  | PRIMER |  |  | INCLUDE | W | W20 | 4 3/4" |  |  |  |  | 1 |  |  | P |  |  |  | INCLUDE |  | INCLUDE
300A |  | LEVEL 3 | STAIR A | 1 |  | SWING | SINGLE | INTERIOR |  | 3' - 0" | 7' - 0" | 1 3/4" | 45 MIN | HCM | 2 | HONEYCOMB CORE |  |  | 18GA | PRIMER |  |  | INCLUDE | PS | W23 | 6 3/4" | WOOD STUD ANCHOR |  |  |  | 1 | FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | 300A | INCLUDE
300B |  | LEVEL 3 | STAIR B | 1 |  | SWING | SINGLE | INTERIOR |  | 3' - 0" | 7' - 0" | 1 3/4" | 45 MIN | HCM | 2 | HONEYCOMB CORE |  |  | 18GA | PRIMER |  |  | INCLUDE | PS | W23 | 6 3/4" | WOOD STUD ANCHOR |  |  |  | 1 | FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | 300B | INCLUDE
300C |  | LEVEL 3 | ELECTRICAL CLOSET | 1 |  | SWING | DOUBLE | INTERIOR |  | (2)3' - 0" | 7' - 0" | 1 3/4" | 45 MIN | HCM | 1 | HONEYCOMB CORE |  |  | 18GA | PRIMER |  |  | INCLUDE | PS | W23 | 6 3/4" | WOOD STUD ANCHOR |  |  |  | 2 | FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | 300C | INCLUDE
400A |  | LEVEL 4 | STAIR A | 1 |  | SWING | SINGLE | INTERIOR |  | 3' - 0" | 7' - 0" | 1 3/4" | 45 MIN | HCM | 2 | HONEYCOMB CORE |  |  | 18GA | PRIMER |  |  | INCLUDE | PS | W23 | 6 3/4" | WOOD STUD ANCHOR |  |  |  | 1 | FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | 400A | INCLUDE
400B |  | LEVEL 4 | STAIR B | 1 |  | SWING | SINGLE | INTERIOR |  | 3' - 0" | 7' - 0" | 1 3/4" | 45 MIN | HCM | 2 | HONEYCOMB CORE |  |  | 18GA | PRIMER |  |  | INCLUDE | PS | W23 | 6 3/4" | WOOD STUD ANCHOR |  |  |  | 1 | FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | 400B | INCLUDE
400C |  | LEVEL 4 | ELECTRICAL CLOSET | 1 |  | SWING | DOUBLE | INTERIOR |  | (2)3' - 0" | 7' - 0" | 1 3/4" | 45 MIN | HCM | 1 | HONEYCOMB CORE |  |  | 18GA | PRIMER |  |  | INCLUDE | PS | W23 | 6 3/4" | WOOD STUD ANCHOR |  |  |  | 2 | FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | 400C | INCLUDE
500A |  | LEVEL 5 | STAIR A | 1 |  | SWING | SINGLE | INTERIOR |  | 3' - 0" | 7' - 0" | 1 3/4" | 45 MIN | HCM | 2 | HONEYCOMB CORE |  |  | 18GA | PRIMER |  |  | INCLUDE | PS | W23 | 6 3/4" | WOOD STUD ANCHOR |  |  |  | 1 | FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | 500A | INCLUDE
500B |  | LEVEL 5 | STAIR B | 1 |  | SWING | SINGLE | INTERIOR |  | 3' - 0" | 7' - 0" | 1 3/4" | 45 MIN | HCM | 2 | HONEYCOMB CORE |  |  | 18GA | PRIMER |  |  | INCLUDE | PS | W23 | 6 3/4" | WOOD STUD ANCHOR |  |  |  | 1 | FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | 500B | INCLUDE
500C |  | LEVEL 5 | ELECTRICAL CLOSET | 1 |  | SWING | DOUBLE | INTERIOR |  | (2)3' - 0" | 7' - 0" | 1 3/4" | 45 MIN | HCM | 1 | HONEYCOMB CORE |  |  | 18GA | PRIMER |  |  | INCLUDE | PS | W23 | 6 3/4" | WOOD STUD ANCHOR |  |  |  | 2 | FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | 500C | INCLUDE
600A |  | LEVEL 6 | STAIR A | 1 |  | SWING | SINGLE | INTERIOR |  | 3' - 0" | 7' - 0" | 1 3/4" | 45 MIN | HCM | 2 | HONEYCOMB CORE |  |  | 18GA | PRIMER |  |  | INCLUDE | PS | W23 | 6 3/4" | WOOD STUD ANCHOR |  |  |  | 1 | FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | 600A | INCLUDE
600B |  | LEVEL 6 | STAIR B | 1 |  | SWING | SINGLE | INTERIOR |  | 3' - 0" | 7' - 0" | 1 3/4" | 45 MIN | HCM | 2 | HONEYCOMB CORE |  |  | 18GA | PRIMER |  |  | INCLUDE | PS | W23 | 6 3/4" | WOOD STUD ANCHOR |  |  |  | 1 | FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | 600B | INCLUDE
600C |  | LEVEL 6 | ELECTRICAL CLOSET | 1 |  | SWING | DOUBLE | INTERIOR |  | (2)3' - 0" | 7' - 0" | 1 3/4" | 45 MIN | HCM | 1 | HONEYCOMB CORE |  |  | 18GA | PRIMER |  |  | INCLUDE | PS | W23 | 6 3/4" | WOOD STUD ANCHOR |  |  |  | 2 | FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | 600C | INCLUDE
700A |  | ROOF TOP AMENITY | STAIR A | 1 |  | SWING | SINGLE | EXTERIOR |  | 3' - 0" | 7' - 0" | 1 3/4" | 90 MIN | HCM | 2 | STEEL STIFFENED CORE |  |  | 16GA | PRIMER |  |  | INCLUDE | PS | *FP/WS | 4 3/4" | WOOD STUD ANCHOR |  |  |  | 1 | THERMALLY BROKEN - FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | 700A | INCLUDE
700B |  | ROOF TOP AMENITY | STAIR B | 1 |  | SWING | SINGLE | EXTERIOR |  | 3' - 0" | 7' - 0" | 1 3/4" | 90 MIN | HCM | 2 | STEEL STIFFENED CORE |  |  | 16GA | PRIMER |  |  | INCLUDE | PS | *FP/WS | 4 3/4" | WOOD STUD ANCHOR |  |  |  | 1 | THERMALLY BROKEN - FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | 700B | INCLUDE
S1 |  | UNIT AREA | SUITE ENTRY | 71 |  | SWING | SINGLE | INTERIOR |  | 3' - 0" | 7' - 0" | 1 3/4" | 20 MIN | SCW | 1 | PARTICLEBOARD CORE |  |  |  | PRIMER |  |  | INCLUDE | PS | W23 | 6 3/4" | WOOD STUD ANCHOR |  |  |  | 1 | FACE WELDED | 16GA | PRIMER |  |  |  | INCLUDE | S1 | INCLUDE
S2 |  | UNIT AREA | BEDROOM | 73 |  | SWING | SINGLE | INTERIOR |  | 2' - 10" | 6' - 8" | 1 3/8" |  | HCW | 1 | HONEYCOMB KRAFT PAPER |  |  |  | PRIMER |  |  | INCLUDE | W | W19 | 4 3/4" |  |  |  |  | 1 |  |  | PRIMER |  |  |  | INCLUDE | S2,S4,S5,S6,S7,S8,S9 and S10 | INCLUDE
S2 |  | UNIT AREA | BEDROOM | 8 |  | SWING | SINGLE | INTERIOR |  | 2' - 10" | 6' - 8" | 1 3/8" |  | HCW | 1 | HONEYCOMB KRAFT PAPER |  |  |  | PRIMER |  |  | INCLUDE | W | W21 | 6 3/4" |  |  |  |  | 1 |  |  | PRIMER |  |  |  | INCLUDE | S2,S4,S5,S6,S7,S8,S9 and S10 | INCLUDE
S3 |  | UNIT AREA | BATHROOM | 74 |  | SWING | SINGLE | INTERIOR |  | 2' - 10" | 6' - 8" | 1 3/8" |  | SCW | 1 | PARTICLEBOARD CORE |  |  |  | PRIMER |  |  | INCLUDE | W | W20 | 4 3/4" |  |  |  |  | 1 |  |  | PRIMER |  |  |  | INCLUDE | S3 | INCLUDE
S3 |  | UNIT AREA | BATHROOM | 11 |  | SWING | SINGLE | INTERIOR |  | 2' - 10" | 6' - 8" | 1 3/8" |  | SCW | 1 | PARTICLEBOARD CORE |  |  |  | PRIMER |  |  | INCLUDE | W | W22 | 6 3/4" |  |  |  |  | 1 |  |  | PRIMER |  |  |  | INCLUDE | S3 | INCLUDE
S3 |  | UNIT AREA | BATHROOM | 8 |  | SWING | SINGLE | INTERIOR |  | 2' - 10" | 6' - 8" | 1 3/8" |  | SCW | 1 | PARTICLEBOARD CORE |  |  |  | PRIMER |  |  | INCLUDE | W | W22 | 6 3/4" |  |  |  |  | 1 |  |  | PRIMER |  |  |  | INCLUDE | S3 | INCLUDE
S4 |  | UNIT AREA | STORAGE & WALK IN CLOSET | 87 |  | SWING | SINGLE | INTERIOR |  | 2' - 10" | 6' - 8" | 1 3/8" |  | HCW | 1 | HONEYCOMB KRAFT PAPER |  |  |  | PRIMER |  |  | INCLUDE | W | W20 | 4 3/4" |  |  |  |  | 1 |  |  | PRIMER |  |  |  | INCLUDE | S2,S4,S5,S6,S7,S8,S9 and S10 | INCLUDE
S5 |  | UNIT AREA | WASHER/ DRYER & CLOSET | 60 |  | SWING | SINGLE | INTERIOR |  | 2' - 8" | 6' - 8" | 1 3/8" |  | HCW | 1 | HONEYCOMB KRAFT PAPER |  |  |  | PRIMER |  |  | INCLUDE | W | W19 | 4 3/4" |  |  |  |  | 1 |  |  | PRIMER |  |  |  | INCLUDE | S2,S4,S5,S6,S7,S8,S9 and S10 | INCLUDE
S6 |  | UNIT AREA | HOT WATER TANK | 9 |  | SWING | SINGLE | INTERIOR |  | 2' - 4" | 6' - 8" | 1 3/8" |  | HCW | 1 | HONEYCOMB KRAFT PAPER |  |  |  | PRIMER |  |  | INCLUDE | W | W19 | 4 3/4" |  |  |  |  | 1 |  |  | PRIMER |  |  |  | INCLUDE | S2,S4,S5,S6,S7,S8,S9 and S10 | INCLUDE
S7 |  | UNIT AREA | CLOSET 4' 0" | 12 |  | SWING | DOUBLE | INTERIOR |  | (2) 2' - 0" | 6' - 8" | 1 3/8" |  | HCW | 1 | HONEYCOMB KRAFT PAPER |  |  |  | PRIMER |  |  | INCLUDE | W | W19 | 4 3/4" |  |  |  |  | 2 |  |  | PRIMER |  |  |  | INCLUDE | S2,S4,S5,S6,S7,S8,S9 and S10 | INCLUDE
S8 |  | UNIT AREA | WASHER/ DRYER 4' 10" | 5 |  | SWING | DOUBLE | INTERIOR |  | (2)2' - 5" | 6' - 8" | 1 3/8" |  | HCW | 1 | HONEYCOMB KRAFT PAPER |  |  |  | PRIMER |  |  | INCLUDE | W | W19 | 4 3/4" |  |  |  |  | 2 |  |  | PRIMER |  |  |  | INCLUDE | S2,S4,S5,S6,S7,S8,S9 and S10 | INCLUDE
S9 |  | UNIT AREA | WASHER/ DRYER 5' | 52 |  | SWING | DOUBLE | INTERIOR |  | (2)2' - 6" | 6' - 8" | 1 3/8" |  | HCW | 1 | HONEYCOMB KRAFT PAPER |  |  |  | PRIMER |  |  | INCLUDE | W | W19 | 4 3/4" |  |  |  |  | 2 |  |  | PRIMER |  |  |  | INCLUDE | S2,S4,S5,S6,S7,S8,S9 and S10 | INCLUDE
S10 |  | UNIT AREA | CLOSET - BYPASS 5' | 58 |  | BYPASS | DOUBLE | INTERIOR |  | (2)2' - 6" | 6' - 8" | 1 3/8" |  | HCW | 1 | HONEYCOMB KRAFT PAPER |  |  |  | PRIMER |  |  | INCLUDE | W | - | [8 empty] | P |  |  |  | EXCLUDE | S2,S4,S5,S6,S7,S8,S9 and S10 | INCLUDE
S11 |  | UNIT AREA | CLOSET - BYPASS 6' | 13 |  | BYPASS | DOUBLE | INTERIOR |  | (2)3' - 0" | 6' - 8" | 1 3/8" |  | HCW | 1 | HONEYCOMB KRAFT PAPER |  |  |  | PRIMER |  |  | INCLUDE | W | - | [8 empty] | P |  |  |  | EXCLUDE |  | INCLUDE
S12 |  | UNIT AREA | CLOSET - BYPASS 8' | 24 |  | BYPASS | DOUBLE | INTERIOR |  | (2) 4' - 0" | 6' - 8" | 1 3/8" |  | HCW | 1 | HONEYCOMB KRAFT PAPER |  |  |  | PRIMER |  |  | INCLUDE | W | - | [8 empty] | P |  |  |  | EXCLUDE |  | INCLUDE
S13 |  | UNIT AREA | CLOSET - BYPASS 4' | 2 |  | BYPASS | DOUBLE | INTERIOR |  | (2) 2' - 0" | 6' - 8" | 1 3/8" |  | HCW | 1 | HONEYCOMB KRAFT PAPER |  |  |  | PRIMER |  |  | INCLUDE | W | - | [8 empty] | P |  |  |  | EXCLUDE |  | INCLUDE
INCLUDE